## Hoja1
Folder # | List of topics | OEM | Search Categories | Info Type | Article Ref | Video | Description | Issued date
1 | FT8 - Lucas coupling removal. | P&W | Turbine GG & PT | Maintenance | ART001 | Article | This article gives tips and tools needed to remove & install the Lucas coupling. | 2020-06-27
2 | FT8 - EGT - Issue with new thermocouple. | P&W | Control system | Maintenance | ART002 | Article | This article describes a modification that is needed to one of the parts of the new thermocouple. | 2020-06-28
3 | FT8 - Mobile - Generator hold down. | P&W | Generator | Maintenance | ART003 | Article | This article gives information on the generator hold down bolts for the mobile unit. Drawings are not clear. | 2020-06-29
4 | FT8 - Gas fuel valve driver fault. | P&W | Gas Fuel System | Troubleshoot | ART004 | Article | Troubleshooting a fault on the Woodward Digital Driver and diagnostic software installation information information. Also connection information. | 2020-06-29
5 | FT8 - Stroking gas fuel valve FCV1101. | P&W | Gas Fuel System | Troubleshoot | ART005 | Article | Troubleshooting why a fuel control valve FCV1101 was not reaching 100% when stroking from the ICE software. | 2020-07-02
6 | General - Maintenance board. | General |  | Good Ideas | ART006 | Article | This is a photo of what one operator used to keep track of filters in service & standby, along with running hours etc - good idea. | 2020-07-03
7 | FT8 - GG / PT removal & installation. | P&W | Turbine GG & PT | Maintenance | ART007 | Article | This has a reference to a quality document giving detailed instructions on how to remove and insatll the FT8 GG and PT. Very good for a someone with little experience on the FT8. | 2020-07-03
8 | Solar - Project documentation. | Solar | Solar Common | Maintenance | ART008 | Article | This gives an outline of the documents and drawings produced by Solar for their equipment. Good for someone wanting to know what documentation is available. | 2020-07-03
9 | Solar - T60 - Alignment - Part 1. | Solar | Taurus 60 | Training | ART009 | Article | This is the first of three articles on the Taurus 60 alignment. The following subjects are covered: TOTAL INDICATOR READING - SOFT FOOT - CHANGING TARGET SIDES - BORE AND RIM READINGS - MAGNETIC CENTER - HUB TO HUB DISTANCE - TOOL SAG. | 2020-07-06
10 | Solar - T60 - Alignment - Part 2. | Solar | Taurus 60 | Training | ART010 | Article | This is the second article on the Taurus 60 alignment. The following subjects are covered: ALIGNMENT TOOLS AND SETUP - THREE READINGS TO SATISFY SPEC - TORQUE VALUES. | 2020-07-08
11 | Solar - T60 - Alignment - Part 3 | Solar | Taurus 60 | Training | ART011 |  | This is the third article on the alignment of the Taurus 60. The following sugbject is covered: How the shim required is calculated. | 2020-07-09
12 | FT8 - Hydraulic System - IGV / VSV startup data | P&W | Hydraulic system | Troubleshoot | ART012 |  | This article and attached spreadsheet gives very valuable information for troubleshooting and training for the IGV & VSV of the FT8. Also there is a spreadsheet that calculates the correct IGV / VSV angle at whatever turbine speed, so you can verify that the angle is on schedule. | 2020-07-09
13 | FT8 - Air System - Maintenance | P&W | Air system |  | ART013 |  | This gives a description of issues with the Air System. Issue with check valves wearing from the inside out. Leaking spent air adapters. Bleed valve cleaning tool - invented by Enrique Boffi. Attachment document showing Bleed Valve Slonoid dissembled for cleaning. | 2020-07-19
14 | Solar - T60 - IGV Control | Solar | Hydraulic system | Training | ART014 |  | This is a useful training and troubleshooting article, discussing the actuator PN 1016391 from the T60 / Centaur units. It shows a cross section of the actuator, showing the flows being controlled by a spool valve. | 2020-07-19
15 | FT8 - Hydraulic System - Troubleshoot IGV / VSV | P&W | Hydraulic system |  | ART015 |  | This article explains some troubleshooting of the IGV / VSV servo, with reference to the milliamp signal. | 2020-09-10
16 | General - Good ideas - Walkway | Solar |  | Good ideas | ART016 |  | This is a good idea by one operator who installed his own design walkway around various types of turbine they had. The photos are from a Titan 130. This is a simple but very effective design. | 2020-09-10
17 | Solar - TT3 Ignition issue | Solar | Ignition system |  | ART017 |  | This article describes an issue with the ignition on TurboTronic 3 - when electronic valves were first introduced. | 2020-09-10
18 | FT8 - Good ideas - mobile unit. | P&W |  | Good ideas | ART018 |  | This is from an operator of the FT8 Mobile unit. They installed a proper drain after one of their mobile units burned out. Also the installation of a fence to block hot air circulating and entering the enclosure cooling duct. | 2020-09-10
19 | FT8 - Gas fuel valve dismantled - Part 1. | P&W | Gas Fuel System |  | ART019 |  | There is a very common issue with the FT8 Gas Fuel Control Valve PN- CT117358‐2. The epicyclic gearbox inside the valve wears out the drive pinion. This article shows how to dismantle the valve. Part 1 | 2020-09-10
20 | FT8 - Gas fuel valve dismantled - Part 2. | P&W | Gas Fuel System |  | ART020 |  | There is a very common issue with the FT8 Gas Fuel Control Valve PN- CT117358‐2. The epicyclic gearbox inside the valve wears out the drive pinion. This article shows how to dismantle the valve. Part 2 | 2020-09-10
21 | Solar - T60 - Backup overspeed calibration. | Solar | Control system |  | ART021 |  | This article describes in detail how to calibrate the older type of backup overspeed. While this is the T60 it is applicable to all Solar units. | 2020-09-10
22 | Solar - T130 - Oil flushing | Solar | Lubrication system |  | ART022 |  | This discusses issues you may encounter when flushing Titan 130. Includes some sketches to manufacture fittings you may need while flushing. | 2020-09-10
23 | Solar - DC backup pump control. | Solar | Lubrication system |  | ART023 |  | This article discusses an issue with the DC Pump backup control, thermal overload. | 2020-09-10
24 | Solar - Stripchart - Vern Van Leuven | Solar | Control system |  | ART024 |  | This is and article about Stripchart and Vern Van Leuven who designed it. It is a software that can record data from the PLC. | 2020-09-10
25 | FT8 - Lube Press Control Valve PDCV601 - Part 1 | P&W | Lubrication system |  | ART025 |  | This article is a good for troubleshooting and training. It shows the Jordan pressure control valve PDCV601, dissembled. Cross referencing the actual parts with the drawing. Part 1 | 2020-09-10
26 | FT8 - Lube Press Control Valve PDCV601 - Part 2 | P&W | Lubrication system |  | ART026 |  | This article is a good for troubleshooting and training. It shows the Jordan pressure control valve PDCV601, dissembled. Cross referencing the actual parts with the drawing. Part 2 | 2020-09-10
27 | Solar - Analog inputs | Solar | Control system | Training | ART027 |  | This article explains the formula used to process and scale a typical Transmitter Analog Input. | 2020-10-21
28 | FT8 - Hydraulic System - Overview | P&W | Hydraulic system | Training | ART028
29 | Solar - Mars - Fuel gas - Start-up valve check - Part 1 | Solar | Gas Fuel System | Training | ART029
30 | FT8 - Hydraulic System - Maintenance 2 - Mechanical | P&W | Hydraulic system |  | ART030
31 | FT8 - Hydraulic System - Maintenance 1 - E&I | P&W | Hydraulic system |  | ART031
32 | Solar - Surge control - 289RC Exhaust Booster | Solar | Surge control system |  | ART032
33 | FT8 - Hydraulic System - Servo control | P&W | Hydraulic system | Training | ART033
34 | Basic Vibration for Turbine Technicians | General | Vibration system | Training | ART034
35 | FT8 - Hydraulic System - Troubleshooting 2 | P&W | Hydraulic system |  | ART035
36 | Solar - Surge Control Line | Solar | Surge control system | Training | ART036
37 | FT8 - Cutler & Hammer Parts | P&W | General |  | ART037
38 | Solar - T130 - Thrust bearing protection | Solar | Control system |  | ART038
39 | FT8 - Power Turbine Lean Back Issue | P&W | Turbine GG & PT |  | ART039
40 | Solar - T70 IGV tool | Solar | Hydraulic system |  | ART040
41 | Solar - Centaur lube filter | Solar | Liquid fuel system |  | ART041
42 | Solar - Centaur - Taurus Pressure & temp control block | Solar | Lubrication system |  | ART042
43 | FT8 - Troubleshooting a discrete output | P&W | Control system | Training | ART043
44 | FT8 - Power Turbine Thrust Balance Troubleshooting | P&W | Turbine GG & PT |  | ART044
45 | Solar - Centaur 50 compressor surge | Solar | Centaur 50 |  | ART045
46 | FT8 - Vibration system calibration verification | P&W | Vibration system |  | ART046
47 | FT8 - PT scavenge pressure PT620 | P&W | Lubrication system |  | ART047
48 | FT8 - Air system bleed valve lubricant WC 393 | P&W | Air system |  | ART048
49 | Solar - Mars oil pressure regulator issue - PCV901 | Solar | Control system |  | ART049
50 | FT8 - Input Output List | P&W | Control system |  | ART050
51 | Alternative method of finding the MODBUS address | P&W | Control system |  | ART051
52 | FT8 - Pressure transmitter calibration | P&W | Control system | Training | ART052
53 | FT8 - Honeywell Solenoid | P&W | Air system |  | ART053
54 | FT8 - Control Assistant - Trending | P&W | Control system | Training | ART054
55 | FT8 - Connect to OPC server | P&W | Control system |  | ART055
56 | Solar - Connect to OPC server | Solar | Control system |  | ART056
57 | General - Smart monitoring and diagnostics | General | Control system |  | ART057
58 | Solar - Mars IGV | Solar | Mars |  | ART058
59 | Solar - T5 control | Solar | Control system | Training | ART059
60 | FT8 - Cold Air Buffer | P&W | Cold air buffer system | Training | ART060
61 | Bently Nevada 3500 - connect to the rack | General | Vibration system |  | ART061
62 | FT8 - SEL-551 - MCC feed overcurrent protection | P&W | Electrical system |  | ART062
63 | FT8 - Turbine Cooling Air - TE076 | P&W | Air system |  | ART063
64 | FT8 - Gas Fuel SOV1101 & SOV1102 | P&W | Gas Fuel System |  | ART064
65 | FT8 - 52G Main Breaker | P&W | Electrical system |  | ART065
66 | FT8 - Start Motor Repair - 1 | P&W | Start system |  | ART066
67 | FT8 - Start Motor Repair - 2 | P&W | Start system |  | ART067
68 | FT8 - Start Motor Repair - 3 | P&W | Start system |  | ART068
69 | FT8 - Gas fuel hose failures | P&W | Gas Fuel System |  | ART069
70 | FT8 - Gas fuel vent | P&W | Gas Fuel System |  | ART070
71 | FT8 - Gas fuel valve wear mitigation | P&W | Gas Fuel System |  | ART071
72 | FT8 - Electrical schematic drawings | P&W | Control system | Training | ART072
73 | FT8 - Speed channels | P&W | Control system | Training | ART073
74 | FT8 - GAP logic blocks | P&W | Control system | Training | ART074
75 | FT8 - Lube oil logic & alarms | P&W | Control system | Training | ART075
76 | FT8 - Startup data - All analog values | P&W | Control system |  | ART076
77 | FT8 - Gas fuel startup analog data | P&W | Control system |  | ART077
78 | FT8 - IGV / VSV Training Part 1 | P&W | Control system |  | ART078
79 | FT8 - Hydraulic starter control | P&W | Control system | Training | ART079
80 | FT8 - Controlling analog outputs | P&W | Control system | Training | ART080
81 | FT8 - Alarm Shutdown Driveback | P&W | Control system | Training | ART081
82 | FT8 - Getting around GAP | P&W | Control system | Training | ART082
83 | FT8 - EGT Spread Awareness | P&W | Control system | Training | ART083
84 | FT8 - EGT Probe Test | P&W | Control system |  | ART084
85 | FT8 - GAP - Elec Sch Troubleshooting | P&W | Control system |  | ART085
86 | FT8 - Saving tunables | P&W | Control system |  | ART086
87 | FT8 - GAP Logic for PT612 | P&W | Control system |  | ART087
88 | FT8 - Start motor direction control valve | P&W | Start system |  | ART088
89 | FT8 - Water injection - Overview | P&W | Water Injection System | Training | ART089
90 | FT8 - Water injection - PBDot Issue | P&W | Water Injection System |  | ART090
91 | FT8 - Water injection - LSL801 | P&W | Water Injection System |  | ART091
92 | Solar - T5 compensating resistor | Solar | Control system |  | ART092
93 | FT8 - Water injection - Woodward control valve | P&W | Water Injection System |  | ART093
94 | Solar - Fire System - Fire bottle weighing tool | Solar | Fire system |  | ART094
95 | FT8 - Water injection - Logic change | P&W | Water Injection System |  | ART095
96 | Solar - Oil viscosity VG-32 / VG-46 | Solar | Lubrication system |  | ART096
97 | Solar - Taurus 70 / Centaur bleed valve | Solar | Taurus 70 |  | ART097
98 | FT8 - Good Ideas - Strongback support | P&W |  | Good ideas | ART098
99 | Solar - Discrete Outputs | Solar | Control system | Training | ART099
100 | FT8 - Good ideas - Instrument fitting MANN | P&W |  | Good ideas | ART100
101 | FT8 - Bleed valve solenoid repair | P&W | Air system |  | ART101
102 | Solar - Gas fuel control valve | Solar | Gas Fuel System | Training | ART102
103 | FT8 - Fire system - freezing up | P&W | Fire system |  | ART103
104 | Solar - Titan 130 - combustor pin wear | Solar | Titan 130 |  | ART104
105 | Solar - T1 temperature | Solar | Control system |  | ART105
106 | FT8 - Good idea - torque multiplier | General |  | Good Ideas | ART106
107 | Solar - Sulfur in gas fuel | Solar | Gas Fuel System |  | ART107
108 | FT8 - Thermocouple loop calibration | P&W | Control system |  | ART108
109 | FT8 - Liquid fuel - not lighting off - Part 1 | P&W | Liquid fuel system |  | ART109
110 | Solar - Mars Air assist PCV933 adjustment | Solar | Lubrication system |  | ART110
111 | Solar - Titan 130 Oil leak | Solar | Lubrication system |  | ART111
112 | FT8 - Water Injection Drain valve testing | P&W | Water Injection System |  | ART112
113 | Solar - TT2 k-values & tags | Solar | Control system |  | ART113
114 | FT8 - Water Injection Issue | P&W | Water Injection System |  | ART114
115 | FT8 - Liquid fuel - not lighting off - Part 2 | P&W | Liquid fuel system |  | ART115
116 | FT8 - Performance - TE3301 | P&W | Performance |  | ART116
117 | FT8 - Good ideas - PT support tool | P&W | Turbine GG & PT | Good ideas | ART117
118 | FT8 - Lube oil tube issue | P&W | Lubrication system |  | ART118
119 | FT8 – Power Turbine S-Flange Vibration | P&W | Vibration System | Troubleshoot | ART119
120 | Solar - Mars Fuel valve check logic - Part 2 | Solar | Gas Fuel System | Training | ART120
121 | FT8 - Water Injection - Controller at limits - A | P&W | Water Injection System |  | ART121
122 | Solar - Mars Gas loader valve PCV932 test | Solar | Gas Fuel System |  | ART122
123 | Solar - Quantum Fire System Issue | Solar | Fire system |  | ART123
124 | FT8 - PT pump coupling - good idea | P&W | Lubrication system | Good ideas | ART124
125 | FT8 - part number for fuel valve motor | P&W | Lubrication system |  | ART125
126 | FT8 - Good ideas - fuel valve motor pinion | P&W | Gas Fuel System | Good ideas | ART126
127 | FT8 - Hard light off | P&W | Gas Fuel System |  | ART127
128 | FT8 - CAB - Power Flex 4 VFD | P&W | Cold air buffer system |  | ART128
129 | FT8 - Good ideas - CAB fly screen | P&W | Cold air buffer system | Good ideas | ART129
130 | FT8 - Drive back - Cold Air Buffer | P&W | Air system |  | ART130
131 | FT8 – Water Injection – Not entering service | P&W | Water Injection System |  | ART131
132 | FT8 - Water Injection - Controller at limits - B | P&W | Water Injection System |  | ART132
133 | FT8 - Lube - PDCV602 - corrosion | P&W | Lubrication system |  | ART133
134 | FT8 - Process analyst tips | P&W | Control system |  | ART134
135 | FT8 - Fire system - Ground faults | P&W | Fire system |  | ART135
136 | FT8 - Fire system ONGUARD - Procedures Part 1 | P&W | Fire system |  | ART136
137 | FT8 - Fire System - Issue with fire valve | P&W | Fire system |  | ART137
138 | FT8 - Generator - drive cover - good ideas | P&W | Generator | Good ideas | ART138
139 | FT8 - Coupling collapsing screws | P&W | Maintenance |  | ART139
140 | FT8 - Good ideas - alignment tool | P&W | Turbine GG & PT | Good ideas | ART140
141 | Solar - T70 engine change k-values | Solar | Taurus 70 |  | ART141
142 | FT8 - Drain & vent solenoid valves | P&W | Water Injection System |  | ART142
143 | FT8 - Recording and retrieving data | P&W | Control system |  | ART143
144 | FT8 - Datalogs - The Basics | P&W | Control system |  | ART144
145 | Solar - Mars Tactair IGV calibration | Solar | Mars |  | ART145
146 | FT8 – Four and a half seal | P&W | Turbine GG & PT |  | ART146
147 | FT8 – Hung start | P&W | Start system |  | ART147
148 | FT8 – PCV1301 – quick exhaust | P&W | Air system |  | ART148
149 | FT8 – Exhaust casing replacement | P&W | Turbine GG & PT |  | ART149
150 | Solar – Injecting vibration signal | Solar | Vibration System |  | ART150
151 | Solar – Axial probe tuning | Solar | Vibration System |  | ART151
152 | Solar – Mars – Accessory drive | Solar | Mars |  | ART152
153 | FT8 - GG & PT flange torque values | P&W | Turbine GG & PT |  | ART153
154 | Solar - Taurus 70 IGV logic | Solar | Taurus 70 | Training | ART154
155 | FT8 - Run with one turbine removed | P&W | Control system |  | ART155
156 | FT8 - Loss of flame detection | P&W | Control system |  | ART156
157 | FT8 - Thermal overload - MOP601 & MOP603 | P&W | Lubrication system |  | ART157
158 | FT8 - MCC Generator Heater Bucket | P&W | Control system | Training | ART158
159 | FT8 - High oil consumption | P&W | Lubrication system |  | ART159
160 | FT8 – Deoiler seal replacement | P&W | Lubrication system |  | ART160
161 | FT8 - Gas flexible hose | P&W | Gas Fuel System |  | ART161
162 | Solar drawings - new format | Solar | Solar Common |  | ART162
163 | Solar – Oil flow & pressure adjustment | Solar | Mars |  | ART163
164 | End of line resistors | General | Fire system |  | ART164
165 | Solar – Fire system – Isolation valves | Solar | Fire System |  | ART165
166 | Solar – Mars alignment notes | Solar | Mars |  | ART166
167 | Solar – Terminal strip with a difference | Solar | Control system |  | ART167
168 | Solar - Fire system - EQP Controller | Solar | Fire System |  | ART168
169 | FT8 - Sunflo pump stripdown | P&W | Water Injection System |  | ART169
170 | Solar - Surge control turndown | Solar | Surge control system |  | ART170
171 | Solar - Fire system CO2 cabinet | Solar | Fire System |  | ART171
172 | Solar - Mars alignment - Notes 2 | Solar | Mars |  | ART172
173 | Solar - Backup Overspeed Monitor | Solar | Control system |  | ART173
174 | Solar - Compressor seal gas booster | Solar | Compressor Seal System |  | ART174
175 | Solar - PointWatch Eclipse gas detector | Solar | Fire System |  | ART175
176 | Solar - 3301 Fire detector | Solar | Fire System |  | ART176
177 | FT8 - Breaker spring charge motor | P&W | Generator |  | ART177
178 | FT8 - Trip multiply | P&W | Vibration system |  | ART178
179 | FT8 - Enclosure temperature - not released yet | P&W | Air system |  | ART179
180 | Solar - Mars 100 - Hung start | Solar | Start System |  | ART180
181 | Solar - Centaur - Temp & Pressure control valve - not rel yet | Solar | Lubrication system |  | ART181
182 | Solar – Stroking PECC valve | Solar | Control system |  | ART182
183 | Solar – Mars Gas Valve Check – PECC | Solar | Gas Fuel System |  | ART183
184 | Solar – Mars thrust bearing alarm setup | Solar | Control system |  | ART184
185 | Solar – Mars loader valve video | Solar | Gas Fuel System |  | ART185 | Video
186 | Solar – Vibration – Dynamic Measurement Module 1444 | Solar | Vibration System |  | ART186 | Article | This is an article on the Vibration - Dynamic Measurement Module 1444 used by Solar. | 2023-08-28
187 | Solar - Mars Borescope Inspection - Part 1 | Solar | Mars | Training | ART187 | Article | This is Part 1 of a presentation on the Mars Borescope - This is the contents of the training video | 2024-03-03
188 | Solar – Mars bleed valve | Solar | Mars |  | ART188 | Article | This article describes the control of the PECC operated Solar Mars Bleed Valve | 2023-08-28
189 | Solar - Mars Gas Fuel SoLoNOx | Solar | Gas Fuel System | Training | ART189 | Video | This article describes the basics of Solar SoLoNOx gas fuel. | 2023-08-28
190 | Solar - Gas start system | Solar | Start System | Training | ART190 | Video | This is part of the Mars training video for the start system. | 2023-08-26
191 | Solar - Mars Training Course Video - Diffuser | Solar | Mars | Training | ART191 | Video | This is part of the Mars training video for the gas generator. Is discusses the internal parts using a cross section drawing. | 2023-08-26
192 | Solar - Alignment TIR - Video | Solar | Turbine GG & PT | Training | ART192 | Video | This is a short video explaining the meaning of Total Indicator Reading with regards to shaft alignment on the Taurus 60, but it can also be used for any turbine or machine. | 2023-08-26
193 | Vibration - Critical Speed - Video | General | Vibration System | Training | ART193 | Video | This is a short video on Critical Speeds. It is generic training video. | 2023-08-26
194 | Solar - Mars cross section | Solar | Mars | Training | ART194 | Video | This is an introduction video to the Mars cross section of the turbine. Two minutes long. | 2023-08-26
195 | Solar - TT3 Control - Lightoff issue | Solar | Control System | Troubleshoot | ART195 | Video | This is a Solar TT3 troubleshooting video on the light off of Solar turbines. There was an glitch in the logic preventing the turbine going into the ignition ramp. | 2023-09-10
196 | FT8 - EGT Probe Test | P&W | Control system | Training | ART196 | Video | This video shows how to test a thermocouple hot junctions for the annual inspection. | 2023-09-10
197 | FT8 - Turbine Cooling Air (TCA) - Part 1 | P&W | Air system | Training | ART197 | Video | This is Part 1 of a three part training and troubleshooting video on Turbine Cooling Air (TCA). Part 1 gives overview of the system. | 2023-09-10
198 | FT8 - Turbine Cooling Air (TCA) - Part 2 | P&W | Air system | Training | ART198 | Video | Part 2 of TCA is troiubleshooting and maintenance of the system. | 2023-09-10
199 | FT8 - Turbine Cooling Air (TCA) - Part 3 | P&W | Air system | Training | ART199 | Video | Part 3 of TCA has some unique troubleshooting of the system. | 2023-09-10
200 | Solar - Taurus 60 IGV Versa valve control | Solar | Taurus 60 | Training | ART200 | Video | This video explains the operation of the Solar Versa Valve as used in the IGV control. It is from an older generation of Solar units. | 2023-09-10
201 | Corrected Speed | General | Control System | Training | ART201 | Video | This video explains corrected speeds as used by all turbine manufacturers. | 2023-09-10
202 | FT8 - Oil leak - Penny plug | P&W | Lubrication System | Troubleshoot | ART202 | Video | This is a video on troubleshooting the FT8 lube oil system for leaks - this particular video looks at a location that leaks from inside called the PENNY PLUG. This has multi language subtitles. | 2023-09-10
203 | Solar Yard Valves | Solar | Control system | Training | ART203 | Video | This video describes what happens to the yeard valves during pressurization, startup and shtudown of the turbine. It has multi lingual subtitles. | 2023-09-10
204 | Solar – Compressor Dry Gas Seal Vent Instrumentation | Solar | Compressor | Training | ART204 | Video | This video discusses the different versions of instrumentation tha monitors the dry gas seal flow. | 2023-09-10
205 | Solar – Surge – Head v Flow Map | Solar | Compressor | Training | ART205 | Video | This video explains the principle of flow and head with respect to surge control. This has multi language subtitles. | 2023-09-10
206 | Solar - Mars - Compressor Casing | Solar | Compressor | Training | ART206 |  | This is a good photo of the Mars half compressor casing being removed, plus some details on the casing etc. | 2023-08-26
207 | Solar - T5 Spread | Solar | Control system | Training | ART207 | Video | This is a 4 minute video explaining what is T5 Spread and how it is remidied. This has multi language subtitles. | 2023-09-10
208 | Solar - T5 Base | Solar | Control system | Training | ART208 | Video | This is a multi subtitle video explaining T5 BASE - so important when changing out turbines. | 2023-09-10
209 | Solar - Backup Overspeed Calibration | Solar | Control system | Training | ART209 | Video | This is a 13 minute video explaining how to calibrate the older type overspeed monitor fitted to all Solar units at one time. | 2023-09-10
210 | Solar - Control System for Dummies - Part 1 - 2 - 3 & 4 | Solar | Control system | Training | ART210 | Video | This is a 56 minute training video to train mechanical, electrical or operators how to troubleshoot the Solar Control System | 2023-11-19
211 | Vibration Measurement Units | General | Vibration System | Training | ART211 | Video | This is a training video which explains the three measurement units for vibration. Multiple subtitles. | 2023-09-10
212 | Solar - Gas Detector Point Watch | Solar | Fire system | Training | ART212 | Video | This video is already part of ART215 and needs to be replaced - the video link is still there but now there is no longer a need for it. | 2023-08-21
213 | Solar - SoLoNOx Part 1&2 | Solar | Gas Fuel System | Training | ART213 | Video | This video looks at the history of SoLoNOx with the different system designs. How SoLoNOx is controlled at part load by controlling TPZ. Lean Premix technology and Burner Accoustic Monitoring. | 2023-08-28
214 | FT8 - Control System Training Parts 1.2.3 | P&W | Control system | Training | ART214 | Video | Currently this training video looks at the following subjects: Saving Tunables - IGV / VSV calibration - Hydraulic Starter Spin Logic. | 2023-09-09
215 | Solar - EQP Fire System - complete | Solar | Fire system | Training | ART215 | Video | This is the full Mars training video for the EQP Fire System. While this is for the Mars training course it is applicable for any Solar unit. | 2023-12-29
216 | Solar - Simulating a vibration signal | Solar | Vibration System | Training | ART216 | Article | This is the text for the video in ART227 | 2023-12-29
219 | Solar Mars Fuel Valve Check | Solar | Gas Fuel System | Training | ART219 | Video | This training video looks at the fuel valve check which includes the PECC actuators as part of the check. It is more comprehensive than the old valve check. | 2023-11-25
220 | Solar PECC Gas Fuel Control Valve | Solar | Gas Fuel System | Training | ART220 | Video | This is an 8 minute training video on the Gas Fuel PECC valve. | 2023-12-02
221 | FT8 Lube Oil System Overview | P&W | Lubrication system | Training | ART221 | Video | This is a four minute Overview video of the FT8 Lube Oil System. | 2023-12-04
222 | FT8 Water Injection Vibration | P&W | Water Injection System | Maintenance | ART222 | Article | This is an article on the distructive water injection found on some sites. Thermocouples, fuel lines etc break due to this vibration. | 2023-12-12
223 | Solar Mars Training - Lube Oil System - Part 1 | Solar | Lubrication system | Training | ART223 | Video | This training video starts with an Overview of the Mars Lube Oil System and then gives a description of the following items, how it operates, its alarms etc. Oil tank - Oil level - Oil heater - Tank pressure - Oil viscosity. It also discusses two common issues - High oil temp on the 2/3 bearing drain - High oil pressure in oil tank. | 2023-12-15
224 | FT8 - Oil pressure regulation issue - internal regulator AGB | P&W | Lubrication system | Troubleshoot | ART224 | Article | This article is about not being able to adjust the oil pressure on the FT8 after a new or overhauled FT8 is installed. Internal regulator in the AGB needs to be defeated. | 2023-12-23
225 | Free
226 | Solar Mars Lube Oil System | Solar | Lubrication system | Training | ART226 | Article | This article is the complete Lube Oil System Training. It is basically what is contained in the FT8 Lube Oil Training Video. | 2024-01-28
227 | Solar - Simulating a vibration signal - video | Solar | Vibration System | Training | ART227 | Video | This is a training video on how to use Solar Field Tool FT51010-13 to inject a vibration signal to check the channel circuit and alarms. | 2024-01-16
228 | FT8 Lube Oil System - Control and Alarms | P&W | Lubrication system | Training | ART228 | Article | This article looks at the FT8 Lube Oil System Control and Alarms - there is a description of what the instrumentation does and the value of the alarms. | 2024-01-28
229 | FT8 - Liquid Fuel Troubleshooting | P&W | Liquid fuel system | Troubleshoot | ART229 | Article | This is a very good article on troubleshooting the Liquid Fuel System when you have starting issues. It gives the pressures to expect in different parts of the system. | 2024-02-14
230 | FT8 - Cold Air Buffer | P&W | Air system | Training | ART230 | Article | This is the text and slides from the training video on the Cold Air Buffer System. | 2024-02-24
231 | Solar Mars Borescope Inspection - Part 1 | Solar | Maintenance | Training | ART231 | Article | This is the text and slides from the training video. | 2024-03-03
232 | FT8 OnGuard Fire System Issue | P&W | Fire system | Troubleshoot | ART232 | Article | This explains an issue I had trying to connect an external VGA screen to the Fire System and changing the configuration to allow us enter windows. | 2024-04-14
233 | FT8 Liquid Fuel System Start - Stop data | P&W | Liquid fuel system | Troubleshoot | ART233 | Article | This is a very useful data for troubleshooting liquid fuel starting | 2024-04-19
Updated 20 Apr 2024
The easiest way to locate the "POSTS - Articles " information on my web site is to use this spreadsheet.
https://www.dmba5411.com/posts
Turn FILTERING "ON" for this spreadsheet.
Select from the "OEM" filter.
The select "CATEGORIES" filter.
Note the "ARTICLE REF"
Go to my website blog page dmba5411.com/posts
Then use the "Keyword Search" and type in the "Article Ref" and press "Search".
If the "ARTICLE REF " is being referenced on some other article there may be more than one article on the list.