## Hoja1
Folder # | Free / Premium | List of topics | OEM | Search Categories | Info Type | Article Ref | Video | Description | Issued date
1 | Free | FT8 - Lucas coupling removal. | P&W | Turbine GG & PT | Maintenance | ART001 | Article | This article gives tips and tools needed to remove & install the Lucas coupling. | 2020-06-27
2 | Free | FT8 - EGT - Issue with new thermocouple. | P&W | Control system | Maintenance | ART002 | Article | This article describes a modification that is needed to one of the parts of the new thermocouple. | 2020-06-28
3 | Free | FT8 - Mobile - Generator hold down. | P&W | Generator | Maintenance | ART003 | Article | This article gives information on the generator hold down bolts for the mobile unit. Drawings are not clear. | 2020-06-29
4 | Free | FT8 - Gas fuel valve driver fault. | P&W | Gas Fuel System | Troubleshoot | ART004 | Article | Troubleshooting a fault on the Woodward Digital Driver and diagnostic software installation information information. Also connection information. | 2020-06-29
5 | Free | FT8 - Stroking gas fuel valve FCV1101. | P&W | Gas Fuel System | Troubleshoot | ART005 | Article | Troubleshooting why a fuel control valve FCV1101 was not reaching 100% when stroking from the ICE software. | 2020-07-02
6 | Free | General - Maintenance board. | General |  | Good Ideas | ART006 | Article | This is a photo of what one operator used to keep track of filters in service & standby, along with running hours etc - good idea. | 2020-07-03
7 | Free | FT8 - GG / PT removal & installation. | P&W | Turbine GG & PT | Maintenance | ART007 | Article | This has a reference to a quality document giving detailed instructions on how to remove and insatll the FT8 GG and PT. Very good for a someone with little experience on the FT8. | 2020-07-03
8 | Free | Solar - Project documentation. | Solar | Solar Common | Maintenance | ART008 | Article | This gives an outline of the documents and drawings produced by Solar for their equipment. Good for someone wanting to know what documentation is available. | 2020-07-03
9 | Free | Solar - T60 - Alignment - Part 1. | Solar | Taurus 60 | Training | ART009 | Article | This is the first of three articles on the Taurus 60 alignment. The following subjects are covered: TOTAL INDICATOR READING - SOFT FOOT - CHANGING TARGET SIDES - BORE AND RIM READINGS - MAGNETIC CENTER - HUB TO HUB DISTANCE - TOOL SAG. | 2020-07-06
10 | Free | Solar - T60 - Alignment - Part 2. | Solar | Taurus 60 | Training | ART010 | Article | This is the second article on the Taurus 60 alignment. The following subjects are covered: ALIGNMENT TOOLS AND SETUP - THREE READINGS TO SATISFY SPEC - TORQUE VALUES. | 2020-07-08
11 | Free | Solar - T60 - Alignment - Part 3 | Solar | Taurus 60 | Training | ART011 | Article | This is the third article on the alignment of the Taurus 60. The following sugbject is covered: How the shim required is calculated. | 2020-07-09
12 | Free | FT8 - Hydraulic System - IGV / VSV startup data | P&W | Hydraulic system | Troubleshoot | ART012 | Article | This article and attached spreadsheet gives very valuable information for troubleshooting and training for the IGV & VSV of the FT8. Also there is a spreadsheet that calculates the correct IGV / VSV angle at whatever turbine speed, so you can verify that the angle is on schedule. | 2020-07-09
13 | Free | FT8 - Air System - Maintenance | P&W | Air system |  | ART013 | Article | This gives a description of issues with the Air System. Issue with check valves wearing from the inside out. Leaking spent air adapters. Bleed valve cleaning tool - invented by Enrique Boffi. Attachment document showing Bleed Valve Slonoid dissembled for cleaning. | 2020-07-19
14 | Free | Solar - T60 - IGV Control | Solar | Hydraulic system | Training | ART014 | Article | This is a useful training and troubleshooting article, discussing the actuator PN 1016391 from the T60 / Centaur units. It shows a cross section of the actuator, showing the flows being controlled by a spool valve. | 2020-07-19
15 | Free | FT8 - Hydraulic System - Troubleshoot IGV / VSV | P&W | Hydraulic system |  | ART015 | Article | This article explains some troubleshooting of the IGV / VSV servo, with reference to the milliamp signal. | 2020-09-10
16 | Free | General - Good ideas - Walkway | Solar |  | Good ideas | ART016 | Article | This is a good idea by one operator who installed his own design walkway around various types of turbine they had. The photos are from a Titan 130. This is a simple but very effective design. | 2020-09-10
17 | Free | Solar - TT3 Ignition issue | Solar | Ignition system |  | ART017 | Article | This article describes an issue with the ignition on TurboTronic 3 - when electronic valves were first introduced. | 2020-09-10
18 | Free | FT8 - Good ideas - mobile unit. | P&W |  | Good ideas | ART018 | Article | This is from an operator of the FT8 Mobile unit. They installed a proper drain after one of their mobile units burned out. Also the installation of a fence to block hot air circulating and entering the enclosure cooling duct. | 2020-09-10
19 | Free | FT8 - Gas fuel valve dismantled - Part 1. | P&W | Gas Fuel System |  | ART019 | Article | There is a very common issue with the FT8 Gas Fuel Control Valve PN- CT117358‐2. The epicyclic gearbox inside the valve wears out the drive pinion. This article shows how to dismantle the valve. Part 1 | 2020-09-10
20 | Free | FT8 - Gas fuel valve dismantled - Part 2. | P&W | Gas Fuel System |  | ART020 | Article | There is a very common issue with the FT8 Gas Fuel Control Valve PN- CT117358‐2. The epicyclic gearbox inside the valve wears out the drive pinion. This article shows how to dismantle the valve. Part 2 | 2020-09-10
21 | Free | Solar - T60 - Backup overspeed calibration. | Solar | Control system |  | ART021 | Article | This article describes in detail how to calibrate the older type of backup overspeed. While this is the T60 it is applicable to all Solar units. | 2020-09-10
22 | Free | Solar - T130 - Oil flushing | Solar | Lubrication system |  | ART022 | Article | This discusses issues you may encounter when flushing Titan 130. Includes some sketches to manufacture fittings you may need while flushing. | 2020-09-10
23 | Free | Solar - DC backup pump control. | Solar | Lubrication system |  | ART023 | Article | This article discusses an issue with the DC Pump backup control, thermal overload. | 2020-09-10
24 | Free | Solar - Stripchart - Vern Van Leuven | Solar | Control system |  | ART024 | Article | This is and article about Stripchart and Vern Van Leuven who designed it. It is a software that can record data from the PLC. | 2020-09-10
25 | Free | FT8 - Lube Press Control Valve PDCV601 - Part 1 | P&W | Lubrication system |  | ART025 | Article | This article is a good for troubleshooting and training. It shows the Jordan pressure control valve PDCV601, dissembled. Cross referencing the actual parts with the drawing. Part 1 | 2020-09-10
26 | Free | FT8 - Lube Press Control Valve PDCV601 - Part 2 | P&W | Lubrication system |  | ART026 | Article | This article is a good for troubleshooting and training. It shows the Jordan pressure control valve PDCV601, dissembled. Cross referencing the actual parts with the drawing. Part 2 | 2020-09-10
27 | Free | Solar - Analog inputs | Solar | Control system | Training | ART027 | Article | This article explains the formula used to process and scale a typical Transmitter Analog Input. | 2020-10-21
28 | Free | FT8 - Hydraulic System - Overview | P&W | Hydraulic system | Training | ART028 |  | This is an article giving an overview of the hydraulic system as used by the IGV / VSV. See also ART030 - ART031 - ART033 - ART035
29 | Free | Solar - Mars - Fuel gas - Start-up valve check - Part 1 | Solar | Gas Fuel System | Training | ART029 |  | This article describes part of the Gas Fuel valve sequence for the Mars with loader valves.
30 | Free | FT8 - Hydraulic System - Maintenance 2 - Mechanical | P&W | Hydraulic system |  | ART030 |  | This is an article on the hydraulic system mechanical maintenance. Accumulator repair - Accumulator charging - Filter replacement. See also ART028 - ART030 - ART031 - ART033 - ART035
31 | Free | FT8 - Hydraulic System - Maintenance 1 - E&I | P&W | Hydraulic system |  | ART031 |  | This is an article on the hydraulic system I&C maintenance. IGV/VSV Calibration procedure - Pressure transmitter calibration. See also ART028 - ART030 - ART031 - ART033 - ART035
32 | Free | Solar - Surge control - 289RC Exhaust Booster | Solar | Surge control system |  | ART032 |  | This is an article explaing how the Surge Control Valve Exhaust Booster works. This is an instrument fitted to so many Solar compressor sets.
33 | Free | FT8 - Hydraulic System - Servo control | P&W | Hydraulic system | Training | ART033 |  | This is an article on the hydraulic system Servo Control. See also ART028 - ART030 - ART031 - ART033 - ART035
34 | Free | Basic Vibration for Turbine Technicians | General | Vibration system | Training | ART034
35 | Free | FT8 - Hydraulic System - Troubleshooting 2 | P&W | Hydraulic system |  | ART035 |  | This is an article on Troubleshoting the hydraulic system . See also ART028 - ART030 - ART031 - ART033 - ART035
36 | Free | Solar - Surge Control Line | Solar | Surge control system | Training | ART036 |  | This is a comprehensive article on the design of Solar Surge Control using Surge Margin control.
37 | Free | FT8 - Cutler & Hammer Parts | P&W | General |  | ART037 |  | This contains information on sourcing parts from Cutler & Hammer.
38 | Free | Solar - T130 - Thrust bearing protection | Solar | Control system |  | ART038 |  | This article describes the thrust channel set up for a Titan 130 with TT3 control system. The setup is similar for all Solar thrust channels.
39 | Free | FT8 - Power Turbine Lean Back Issue | P&W | Turbine GG & PT |  | ART039 |  | This article discusses an issue on the PT of the FT8 called "Lean Back". A good place for information on this issue are the documents produced for the World FT8 User Conference.
40 | Free | Solar - T70 IGV tool | Solar | Hydraulic system |  | ART040 | Video | This article has been updated to a video. While it does not go into the logic of the control, you get a good idea of what is going on. It shows you how to check the IGV angle without a programming terminal. The tool for checking the angle is shown, which can easily be fabricated from some sheet metal such as aluminium. | 2024-07-22
41 | Free | Solar - Centaur lube filter | Solar | Liquid fuel system |  | ART041
42 | Free | Solar - Centaur - Taurus Pressure & temp control block | Solar | Lubrication system |  | ART042
43 | Free | FT8 - Troubleshooting a discrete output | P&W | Control system | Training | ART043
44 | Premium | FT8 - Power Turbine Thrust Balance Troubleshooting | P&W | Turbine GG & PT |  | ART044
45 | Free | Solar - Centaur 50 compressor surge | Solar | Centaur 50 |  | ART045
46 | Free | FT8 - Vibration system calibration verification | P&W | Vibration system |  | ART046
47 | Free | FT8 - PT scavenge pressure PT620 | P&W | Lubrication system |  | ART047
48 | Free | FT8 - Air system bleed valve lubricant WC 393 | P&W | Air system |  | ART048
49 | Free | Solar - Mars oil pressure regulator issue - PCV901 | Solar | Control system |  | ART049
50 | Free | FT8 - Input Output List | P&W | Control system |  | ART050
51 | Free | FT8 Alternative method of finding the MODBUS address | P&W | Control system |  | ART051
52 | Free | FT8 - Pressure transmitter calibration | P&W | Control system | Training | ART052
53 | Free | FT8 - Honeywell Solenoid | P&W | Air system |  | ART053
54 | Free | FT8 - Control Assistant - Trending | P&W | Control system | Training | ART054
55 | Free | FT8 - Connect to OPC server | P&W | Control system |  | ART055
56 | Free | Solar - Connect to OPC server | Solar | Control system |  | ART056
57 | Free | General - Smart monitoring and diagnostics | General | Control system |  | ART057
58 | Free | Solar - Mars IGV | Solar | Mars |  | ART058
59 | Premium | Solar - T5 control | Solar | Control system | Training | ART059
60 | Free | FT8 - Cold Air Buffer | P&W | Cold air buffer system | Training | ART060
61 | Free | Bently Nevada 3500 - connect to the rack | General | Vibration system |  | ART061
62 | Free | FT8 - SEL-551 - MCC feed overcurrent protection | P&W | Electrical system |  | ART062
63 | Free | FT8 - Turbine Cooling Air - TE076 | P&W | Air system |  | ART063
64 | Free | FT8 - Gas Fuel SOV1101 & SOV1102 | P&W | Gas Fuel System |  | ART064
65 | Premium | FT8 - 52G Main Breaker | P&W | Electrical system |  | ART065
66 | Premium | FT8 - Start Motor Repair - 1 | P&W | Start system |  | ART066
67 | Premium | FT8 - Start Motor Repair - 2 | P&W | Start system |  | ART067
68 | Premium | FT8 - Start Motor Repair - 3 | P&W | Start system |  | ART068
69 | Free | FT8 - Gas fuel hose failures | P&W | Gas Fuel System |  | ART069
70 | Free | FT8 - Gas fuel vent | P&W | Gas Fuel System |  | ART070
71 | Free | FT8 - Gas fuel valve wear mitigation | P&W | Gas Fuel System |  | ART071
72 | Free | FT8 - Electrical schematic drawings | P&W | Control system | Training | ART072
73 | Free | FT8 - Speed channels | P&W | Control system | Training | ART073
74 | Free | FT8 - GAP logic blocks | P&W | Control system | Training | ART074
75 | Free | FT8 - Lube oil logic & alarms | P&W | Control system | Training | ART075
76 | Premium | FT8 - Startup data - All analog values | P&W | Control system |  | ART076
77 | Premium | FT8 - Gas fuel startup analog data | P&W | Control system |  | ART077
78 | Free | FT8 - IGV / VSV Training Part 1 | P&W | Control system |  | ART078
79 | Free | FT8 - Hydraulic starter control | P&W | Control system | Training | ART079
80 | Free | FT8 - Controlling analog outputs | P&W | Control system | Training | ART080
81 | Free | FT8 - Alarm Shutdown Driveback | P&W | Control system | Training | ART081
82 | Free | FT8 - Getting around GAP | P&W | Control system | Training | ART082
83 | Free | FT8 - EGT Spread Awareness | P&W | Control system | Training | ART083
84 | Free | FT8 - EGT Probe Test | P&W | Control system |  | ART084
85 | Free | FT8 - GAP - Elec Sch Troubleshooting | P&W | Control system |  | ART085
86 | Free | FT8 - Saving tunables | P&W | Control system |  | ART086
87 | Free | FT8 - GAP Logic for PT612 | P&W | Control system |  | ART087
88 | Free | FT8 - Start motor direction control valve | P&W | Start system |  | ART088
89 | Free | FT8 - Water injection - Overview | P&W | Water Injection System | Training | ART089
90 | Free | FT8 - Water injection - PBDot Issue | P&W | Water Injection System |  | ART090
91 | Free | FT8 - Water injection - LSL801 | P&W | Water Injection System |  | ART091
92 | Free | Solar - T5 compensating resistor | Solar | Control system |  | ART092
93 | Free | FT8 - Water injection - Woodward control valve | P&W | Water Injection System |  | ART093
94 | Free | Solar - Fire System - Fire bottle weighing tool | Solar | Fire system |  | ART094
95 | Free | FT8 - Water injection - Logic change | P&W | Water Injection System |  | ART095
96 | Free | Solar - Oil viscosity VG-32 / VG-46 | Solar | Lubrication system |  | ART096
97 | Free | Solar - Taurus 70 / Centaur bleed valve | Solar | Taurus 70 |  | ART097
98 | Free | FT8 - Good Ideas - Strongback support | P&W |  | Good ideas | ART098
99 | Free | Solar - Discrete Outputs | Solar | Control system | Training | ART099
100 | Free | FT8 - Good ideas - Instrument fitting MANN | P&W |  | Good ideas | ART100
101 | Premium | FT8 - Bleed valve solenoid repair | P&W | Air system |  | ART101
102 | Premium | Solar - Gas fuel control valve | Solar | Gas Fuel System | Training | ART102
103 | Premium | FT8 - Fire system - freezing up | P&W | Fire system |  | ART103
104 | Premium | Solar - Titan 130 - combustor pin wear | Solar | Titan 130 |  | ART104
105 | Premium | Solar - T1 temperature | Solar | Control system |  | ART105
106 | Premium | FT8 - Good idea - torque multiplier | General |  | Good Ideas | ART106
107 | Premium | Solar - Sulfur in gas fuel | Solar | Gas Fuel System |  | ART107
108 | Premium | FT8 - Thermocouple loop calibration | P&W | Control system |  | ART108
109 | Premium | FT8 - Liquid fuel - not lighting off - Part 1 | P&W | Liquid fuel system |  | ART109
110 | Premium | Solar - Mars Air assist PCV933 adjustment | Solar | Lubrication system |  | ART110
111 | Premium | Solar - Titan 130 Oil leak | Solar | Lubrication system |  | ART111
112 | Premium | FT8 - Water Injection Drain valve testing | P&W | Water Injection System |  | ART112
113 | Premium | Solar - TT2 k-values & tags | Solar | Control system |  | ART113
114 | Premium | FT8 - Water Injection Issue | P&W | Water Injection System |  | ART114
115 | Premium | FT8 - Liquid fuel - not lighting off - Part 2 | P&W | Liquid fuel system |  | ART115
116 | Premium | FT8 - Performance - TE3301 | P&W | Performance |  | ART116
117 | Premium | FT8 - Good ideas - PT support tool | P&W | Turbine GG & PT | Good ideas | ART117
118 | Premium | FT8 - Lube oil tube issue | P&W | Lubrication system |  | ART118
119 | Premium | FT8 – Power Turbine S-Flange Vibration | P&W | Vibration System | Troubleshoot | ART119
120 | Premium | Solar - Mars Fuel valve check logic - Part 2 | Solar | Gas Fuel System | Training | ART120
121 | Premium | FT8 - Water Injection - Controller at limits - A | P&W | Water Injection System |  | ART121
122 | Premium | Solar - Mars Gas loader valve PCV932 test | Solar | Gas Fuel System |  | ART122
123 | Premium | Solar - Quantum Fire System Issue | Solar | Fire system |  | ART123
124 | Premium | FT8 - PT pump coupling - good idea | P&W | Lubrication system | Good ideas | ART124
125 | Premium | FT8 - part number for fuel valve motor | P&W | Lubrication system |  | ART125
126 | Premium | FT8 - Good ideas - fuel valve motor pinion | P&W | Gas Fuel System | Good ideas | ART126
127 | Premium | FT8 - Hard light off | P&W | Gas Fuel System |  | ART127
128 | Premium | FT8 - CAB - Power Flex 4 VFD | P&W | Cold air buffer system |  | ART128
129 | Premium | FT8 - Good ideas - CAB fly screen | P&W | Cold air buffer system | Good ideas | ART129
130 | Premium | FT8 - Drive back - Cold Air Buffer | P&W | Air system |  | ART130
131 | Premium | FT8 – Water Injection – Not entering service | P&W | Water Injection System |  | ART131
132 | Premium | FT8 - Water Injection - Controller at limits - B | P&W | Water Injection System |  | ART132
133 | Premium | FT8 - Lube - PDCV602 - corrosion | P&W | Lubrication system |  | ART133
134 | Premium | FT8 - Process analyst tips | P&W | Control system |  | ART134
135 | Premium | FT8 - Fire system - Ground faults | P&W | Fire system |  | ART135
136 | Premium | FT8 - Fire system ONGUARD - Procedures Part 1 | P&W | Fire system |  | ART136
137 | Premium | FT8 - Fire System - Issue with fire valve | P&W | Fire system |  | ART137
138 | Premium | FT8 - Generator - drive cover - good ideas | P&W | Generator | Good ideas | ART138
139 | Premium | FT8 - Coupling collapsing screws | P&W | Maintenance |  | ART139
140 | Premium | FT8 - Good ideas - alignment tool | P&W | Turbine GG & PT | Good ideas | ART140
141 | Premium | Solar - T70 engine change k-values | Solar | Taurus 70 |  | ART141
142 | Premium | FT8 - Drain & vent solenoid valves | P&W | Water Injection System |  | ART142
143 | Premium | FT8 - Recording and retrieving data | P&W | Control system |  | ART143
144 | Premium | FT8 - Datalogs - The Basics | P&W | Control system |  | ART144
145 | Premium | Solar - Mars Tactair IGV calibration | Solar | Mars |  | ART145
146 | Premium | FT8 – Four and a half seal | P&W | Turbine GG & PT |  | ART146
147 | Premium | FT8 – Hung start | P&W | Start system |  | ART147
148 | Premium | FT8 – PCV1301 – quick exhaust | P&W | Air system |  | ART148
149 | Premium | FT8 – Exhaust casing replacement | P&W | Turbine GG & PT |  | ART149
150 | Premium | Solar – Injecting vibration signal | Solar | Vibration System |  | ART150
151 | Premium | Solar – Axial probe tuning | Solar | Vibration System |  | ART151
152 | Premium | Solar – Mars – Accessory drive | Solar | Mars |  | ART152
153 | Premium | FT8 - GG & PT flange torque values | P&W | Turbine GG & PT |  | ART153
154 | Premium | Solar - Taurus 70 IGV logic | Solar | Taurus 70 | Training | ART154
155 | Premium | FT8 - Run with one turbine removed | P&W | Control system |  | ART155
156 | Premium | FT8 - Loss of flame detection | P&W | Control system |  | ART156
157 | Premium | FT8 - Thermal overload - MOP601 & MOP603 | P&W | Lubrication system |  | ART157
158 | Premium | FT8 - MCC Generator Heater Bucket | P&W | Control system | Training | ART158
159 | Premium | FT8 - High oil consumption | P&W | Lubrication system |  | ART159
160 | Premium | FT8 – Deoiler seal replacement | P&W | Lubrication system |  | ART160
161 | Premium | FT8 - Gas flexible hose | P&W | Gas Fuel System |  | ART161
162 | Premium | Solar drawings - new format | Solar | Solar Common |  | ART162
163 | Premium | Solar – Oil flow & pressure adjustment | Solar | Mars |  | ART163
164 | Premium | End of line resistors | General | Fire system |  | ART164
165 | Premium | Solar – Fire system – Isolation valves | Solar | Fire System |  | ART165
166 | Premium | Solar – Mars alignment notes | Solar | Mars |  | ART166
167 | Premium | Solar – Terminal strip with a difference | Solar | Control system |  | ART167
168 | Premium | Solar - Fire system - EQP Controller | Solar | Fire System |  | ART168
169 | Premium | FT8 - Sunflo pump stripdown | P&W | Water Injection System |  | ART169
170 | Premium | Solar - Surge control turndown | Solar | Surge control system |  | ART170
171 | Premium | Solar - Fire system CO2 cabinet | Solar | Fire System |  | ART171
172 | Premium | Solar - Mars alignment - Notes 2 | Solar | Mars |  | ART172
173 | Premium | Solar - Backup Overspeed Monitor | Solar | Control system |  | ART173
174 | Premium | Solar - Compressor seal gas booster | Solar | Compressor Seal System |  | ART174
175 | Premium | Solar - PointWatch Eclipse gas detector | Solar | Fire System |  | ART175
176 | Premium | Solar - 3301 Fire detector | Solar | Fire System |  | ART176
177 | Premium | FT8 - Breaker spring charge motor | P&W | Generator |  | ART177
178 | Premium | FT8 - Trip multiply | P&W | Vibration system |  | ART178
179 | Premium | FT8 - Fire system - Retrieve alarm report. | P&W | Fire system |  | ART179
180 | Premium | Solar - Mars 100 - Hung start | Solar | Start System |  | ART180
181 | Premium | Solar - Mars Training - Start motor | Solar | Start system |  | ART181
182 | Premium | Solar – Stroking PECC valve | Solar | Control system |  | ART182
183 | Premium | Solar – Mars Gas Valve Check – PECC | Solar | Gas Fuel System |  | ART183
184 | Premium | Solar – Mars thrust bearing alarm setup | Solar | Control system |  | ART184
185 | Premium | Solar – Mars loader valve video | Solar | Gas Fuel System |  | ART185 | Video
186 | Premium | Solar – Vibration – Dynamic Measurement Module 1444 | Solar | Vibration System |  | ART186 | Article | This is an article on the Vibration - Dynamic Measurement Module 1444 used by Solar. | 2023-08-28
187 | Premium | Solar - Mars Borescope Inspection - Part 1 | Solar | Mars | Training | ART187 | Article | This is Part 1 of a presentation on the Mars Borescope - This is the contents of the training video | 2024-03-03
188 | Premium | Solar – Mars bleed valve | Solar | Mars |  | ART188 | Article | This article describes the control of the PECC operated Solar Mars Bleed Valve | 2023-08-28
189 | Premium | Solar - Mars Gas Fuel SoLoNOx | Solar | Gas Fuel System | Training | ART189 | Video | This article describes the basics of Solar SoLoNOx gas fuel. | 2023-08-28
190 | Premium | Solar - Gas start system | Solar | Start System | Training | ART190 | Video | This is part of the Mars training video for the start system. | 2023-08-26
191 | Premium | Solar - Mars Training Course Video - Diffuser | Solar | Mars | Training | ART191 | Video | This is part of the Mars training video for the gas generator. Is discusses the internal parts using a cross section drawing. | 2023-08-26
192 | Premium | Solar - Alignment TIR - Video | Solar | Turbine GG & PT | Training | ART192 | Video | This is a short video explaining the meaning of Total Indicator Reading with regards to shaft alignment on the Taurus 60, but it can also be used for any turbine or machine. | 2023-08-26
193 | Premium | Vibration - Critical Speed - Video | General | Vibration System | Training | ART193 | Video | This is a short video on Critical Speeds. It is generic training video. | 2023-08-26
194 | Premium | Solar - Mars cross section | Solar | Mars | Training | ART194 | Video | This is an introduction video to the Mars cross section of the turbine. Two minutes long. | 2023-08-26
195 | Premium | Solar - TT3 Control - Lightoff issue | Solar | Control System | Troubleshoot | ART195 | Video | This is a Solar TT3 troubleshooting video on the light off of Solar turbines. There was an glitch in the logic preventing the turbine going into the ignition ramp. | 2023-09-10
196 | Premium | FT8 - EGT Probe Test | P&W | Control system | Training | ART196 | Video | This video shows how to test a thermocouple hot junctions for the annual inspection. | 2023-09-10
197 | Premium | FT8 - Turbine Cooling Air (TCA) - Part 1 | P&W | Air system | Training | ART197 | Video | This is Part 1 of a three part training and troubleshooting video on Turbine Cooling Air (TCA). Part 1 gives overview of the system. | 2023-09-10
198 | Premium | FT8 - Turbine Cooling Air (TCA) - Part 2 | P&W | Air system | Training | ART198 | Video | Part 2 of TCA is troiubleshooting and maintenance of the system. | 2023-09-10
199 | Premium | FT8 - Turbine Cooling Air (TCA) - Part 3 | P&W | Air system | Training | ART199 | Video | Part 3 of TCA has some unique troubleshooting of the system. | 2023-09-10
200 | Premium | Solar - Taurus 60 IGV Versa valve control | Solar | Taurus 60 | Training | ART200 | Video | This video explains the operation of the Solar Versa Valve as used in the IGV control. It is from an older generation of Solar units. | 2023-09-10
201 | Premium | Corrected Speed | General | Control System | Training | ART201 | Video | This video explains corrected speeds as used by all turbine manufacturers. | 2023-09-10
202 | Premium | FT8 - Oil leak - Penny plug | P&W | Lubrication System | Troubleshoot | ART202 | Video | This is a video on troubleshooting the FT8 lube oil system for leaks - this particular video looks at a location that leaks from inside called the PENNY PLUG. This has multi language subtitles. | 2023-09-10
203 | Premium | Solar Yard Valves | Solar | Control system | Training | ART203 | Video | This video describes what happens to the yeard valves during pressurization, startup and shtudown of the turbine. It has multi lingual subtitles. | 2023-09-10
204 | Premium | Solar – Compressor Dry Gas Seal Vent Instrumentation | Solar | Compressor | Training | ART204 | Video | This video discusses the different versions of instrumentation tha monitors the dry gas seal flow. | 2023-09-10
205 | Premium | Solar – Surge – Head v Flow Map | Solar | Compressor | Training | ART205 | Video | This video explains the principle of flow and head with respect to surge control. This has multi language subtitles. | 2023-09-10
206 | Premium | Solar - Mars - Compressor Casing | Solar | Compressor | Training | ART206 |  | This is a good photo of the Mars half compressor casing being removed, plus some details on the casing etc. | 2023-08-26
207 | Premium | Solar - T5 Spread | Solar | Control system | Training | ART207 | Video | This is a 4 minute video explaining what is T5 Spread and how it is remidied. This has multi language subtitles. | 2023-09-10
208 | Premium | Solar - T5 Base | Solar | Control system | Training | ART208 | Video | This is a multi subtitle video explaining T5 BASE - so important when changing out turbines. | 2023-09-10
209 | Premium | Solar - Backup Overspeed Calibration | Solar | Control system | Training | ART209 | Video | This is a 13 minute video explaining how to calibrate the older type overspeed monitor fitted to all Solar units at one time. | 2023-09-10
210 | Premium | Solar - Control System for Dummies - Part 1 - 2 - 3 & 4 | Solar | Control system | Training | ART210 | Video | This is a 56 minute training video to train mechanical, electrical or operators how to troubleshoot the Solar Control System | 2023-11-19
211 | Premium | Vibration Measurement Units | General | Vibration System | Training | ART211 | Video | This is a training video which explains the three measurement units for vibration. Multiple subtitles. | 2023-09-10
212 | Premium | Solar - Gas Detector Point Watch | Solar | Fire system | Training | ART212 | Video | This video is already part of ART215 and needs to be replaced - the video link is still there but now there is no longer a need for it. | 2023-08-21
213 | Free | Solar - SoLoNOx Part 1&2 | Solar | Gas Fuel System | Training | ART213 | Video | This video looks at the history of SoLoNOx with the different system designs. How SoLoNOx is controlled at part load by controlling TPZ. Lean Premix technology and Burner Accoustic Monitoring. | 2023-08-28
214 | Premium | FT8 - Control System Training Parts 1.2.3 | P&W | Control system | Training | ART214 | Video | Currently this training video looks at the following subjects: Saving Tunables - IGV / VSV calibration - Hydraulic Starter Spin Logic. | 2023-09-09
215 | Premium | Solar - EQP Fire System - complete | Solar | Fire system | Training | ART215 | Video | This is the full Mars training video for the EQP Fire System. While this is for the Mars training course it is applicable for any Solar unit. | 2023-12-29
216 | Premium | Solar - Simulating a vibration signal | Solar | Vibration System | Training | ART216 | Article | This is the text for the video in ART227 | 2023-12-29
217 | Premium | FT8 - Sixth stage bleed valve training video | P&W | Turbine GG & PT | Training | ART217 | Video | This is a training video on the Sixth Stage Bleed Valves on the FT8. This gives a detailed description of operation and control of these valves. | 2024-06-20
218 |  | Not used
219 | Premium | Solar Mars Fuel Valve Check | Solar | Gas Fuel System | Training | ART219 | Video | This training video looks at the fuel valve check which includes the PECC actuators as part of the check. It is more comprehensive than the old valve check. | 2023-11-25
220 | Premium | Solar PECC Gas Fuel Control Valve | Solar | Gas Fuel System | Training | ART220 | Video | This is an 8 minute training video on the Gas Fuel PECC valve. | 2023-12-02
221 | Premium | FT8 Lube Oil System Overview | P&W | Lubrication system | Training | ART221 | Video | This is a four minute Overview video of the FT8 Lube Oil System. | 2023-12-04
222 | Premium | FT8 Water Injection Vibration | P&W | Water Injection System | Maintenance | ART222 | Article | This is an article on the distructive water injection found on some sites. Thermocouples, fuel lines etc break due to this vibration. | 2023-12-12
223 | Free | Solar Mars Training - Lube Oil System - Part 1 | Solar | Lubrication system | Training | ART223 | Video | This training video starts with an Overview of the Mars Lube Oil System and then gives a description of the following items, how it operates, its alarms etc. Oil tank - Oil level - Oil heater - Tank pressure - Oil viscosity. It also discusses two common issues - High oil temp on the 2/3 bearing drain - High oil pressure in oil tank. | 2023-12-15
224 | Premium | FT8 - Oil pressure regulation issue - internal regulator AGB | P&W | Lubrication system | Troubleshoot | ART224 | Article | This article is about not being able to adjust the oil pressure on the FT8 after a new or overhauled FT8 is installed. Internal regulator in the AGB needs to be defeated. | 2023-12-23
225 | Premium | FT8 - Vibration alarm verification - video | P&W | Vibration System | Training | ART225 | Video | This is Part 1 of a training video showing how to use an FG-100 frequency generator to test the alarm and shutdown values on the Bently Nevada 3500 System. | 2024-05-12
226 | Premium | Solar Mars Lube Oil System | Solar | Lubrication system | Training | ART226 | Article | This article is the complete Lube Oil System Training. It is basically what is contained in the FT8 Lube Oil Training Video. | 2024-01-28
227 | Premium | Solar - Simulating a vibration signal - video | Solar | Vibration System | Training | ART227 | Video | This is a training video on how to use Solar Field Tool FT51010-13 to inject a vibration signal to check the channel circuit and alarms. | 2024-01-16
228 | Premium | FT8 Lube Oil System - Control and Alarms | P&W | Lubrication system | Training | ART228 | Article | This article looks at the FT8 Lube Oil System Control and Alarms - there is a description of what the instrumentation does and the value of the alarms. | 2024-01-28
229 | Premium | FT8 - Liquid Fuel Troubleshooting | P&W | Liquid fuel system | Troubleshoot | ART229 | Article | This is a very good article on troubleshooting the Liquid Fuel System when you have starting issues. It gives the pressures to expect in different parts of the system. | 2024-02-14
230 | Premium | FT8 - Cold Air Buffer | P&W | Air system | Training | ART230 | Article | This is the text and slides from the training video on the Cold Air Buffer System. | 2024-02-24
231 | Free | Solar Mars Borescope Inspection - Part 1 | Solar | Maintenance | Training | ART231 | Article | This is the text and slides from the training video. | 2024-03-03
232 | Premium | FT8 OnGuard Fire System Issue | P&W | Fire system | Troubleshoot | ART232 | Article | This explains an issue I had trying to connect an external VGA screen to the Fire System and changing the configuration to allow us enter windows. | 2024-04-14
233 | Premium | FT8 Liquid Fuel System Start - Stop data | P&W | Liquid fuel system | Troubleshoot | ART233 | Article | This is a very useful data for troubleshooting liquid fuel starting | 2024-04-19
234 | Premium | Bently Nevada 3500 Issue | P&W | Vibration System | Training | ART234 | Video | Welcome to this training video which will give you a comprehensive and complete procedure to verify the wiring, printed circuit boards and logic for your BN 3500 vibration system on the FT8. While this procedure can be achieved using most frequency generator, I am going to give you the training to carry out this calibration verification with a very simple and affordable frequency generator. By the end of this training any mechanic or electrician familiar with the electrical drawings and a willing to learn will be able to verify the BN3500 vibration system. | 2024-05-12
235 | Premium | FT8 TACHPAK 30 wiring | P&W | Control system | Training | ART235 | Article | This article deals with the older version of the "backup overspeed monitor" which is still in service but no longer being used in new production. It has been replaced by the TACHPAK 30 which is a two channel overspeed monitor. The TACHPAK 3 has a single channel and monitors either ST008A or ST008B. This article deals with what is technical changes needed when one of the turbines is out of service, for the backup overspeed to work correctly. | 2024-04-27
236 | Free | FT8 Synch condensing | P&W | Lubrication system | Training | ART236 | Video | FT8 Synchronous Condensing: In this video I am going to discuss part of the Lubrication System which is seldom fitted to the FT8. This hardware assists the lubrication of the Gas Generator when "Windmilling" or when "Synchronous Condensing". Synchronous Condensing is when the generator is operated as a motor, driven by electricity form the grid. This requires both hardware and software changes to permit this type of operation. It has the beneficial effect of improving the "Power Factor" of the grid. After Synch Condensing is selected on the display, the unit is brought up synchronous speed and the breaker is closed as normal. The fuel valve is closed, and the grid will then provide the power to drive it as a motor. | 2024-05-12
237 | Free | FT8 Liquid fuel start issue | P&W | Liquid fuel system | Troubleshoot | ART237 | Video | FT8 not starting on Liquid Fuel: This is a troubleshooting and training video which gives a very detailed insight into the sequence of events leading up to ignition on the liquid fuel system, plus technical information I share with you that is not available elsewnere. There are subtitles available in Spanish – Turkish & English. | 2024-05-20
238 | Free | FT8 DVP Driver communications | P&W | Control system | Troubleshoot | ART238 | Article | This article will show you how to connect your laptop to the DVP driver. This driver is used on all new projects. The driver is used for Liquid and Gas fuel contro valves. It is also used for the control of the Woodward water injection control valve. | 2024-05-21
239 | Free | FT8 Flyback diodes | P&W | Control system | Troubleshoot | ART239 | Video | This video is going to discuss the use of Flyback Diodes, why they are important, and how to test them. Note that these are used on Solar Turbines as well as P&W. | 2024-05-22
240 |  | FT8 Simulating vibration signal - accelerometer / velocity | P&W | Vibration System | Troubleshoot | ART240 | Video | This is the complete training video which shows how to verify all the vibration channels on the FT8, including the Velocity probes on Flange A,K and S. | 2024-06-06
241 | Free | Solar Mars Lube Oil Logic | Solar | Lubrication system | Training | ART241 | Video | This video is part of a Solar Mars trining course. This video looks at the logic for the lube oil system. | 2024-05-25
242 | Premium | Solar Mars Borescope Inspection - Part 2 | Solar | Maintenance | Training | ART242 | Video | This is Part 2 of the Borescope Training Video on the Mars. It looks at the Diffuser inspection plus the Combustion Chamber inspection. | 2024-06-08
243
244
245 | Premium | FT8 - Battery charger ground faults | P&W | Electrical System | Troubleshooting | ART245 | Article | This is an article giving some tips on resolving ground faults on the 24 and 125 VDC battery chargers. | 2024-06-26
Updated 18 July 2024
The easiest way to locate information on my web site is to use this spreadsheet.
Turn "FILTERING ON" for this spreadsheet.
Select from the "OEM" filter.
The from the "CATEGORIES" filter.
Note the "ARTICLE REF" of the articles / videos of interest
Go to my website main page www.dmba5411.com
Then use the "Keyword Search" and type in the "Article Ref" and press "Search".
Click on "Continue Reading" to see the article / video.